## Sheet1
M/S I FOUR U ENGINEERING SERVICES
Office Address : House No. 329, New Karmik Nagar, PO- ISM, Dhanbad, Jharkhand-826004 . +91 7042220470
GSTIN : 20ARNPA8397C1ZX
| INVOICE NUMBER | APLE-014-25/26 |  | Transportation Mode |  | Work at site
| GSTIN : | 20ARNPA8397C1ZX |  | Vehicle No. |  | N/A
| Tax is payable on reverse charge : (yes /no) |  |  | Date and Time of supply |  | 2025-10-01
| INVOICE DATE | 2025-10-01 |  | Place of supply |  | BIRPARA, Alipurduar, WB
| Details of Reciever (Billed to) |  |  | Details of Consignee (Work at Site)
| Name | Apollo Pharmacies Limited |  | Name | Apollo Pharmacies Limited
| Address | Block A RGM 5/284, Jagardanga Rajarhat Gopalpur, New Town , Kolkata-700136 |  | Address | Holding No- P+1/647, MG Road , GF , PO. & PS-BIRPARA, Dt-Alipurduar, West Bengal, Pincode:735204
| State | West Bengal |  | State | West Bengal
| State Code | 19 |  | State Code | 19
| GSTIN NO. | 19AAPCA5954P1ZO |  | GSTIN NO. | 19AAPCA5954P1ZO
W/O : APL/WB/CIV/25-26/62
S NO. | ITEM NAME | DESCRIPTION OF THE ITEM | SAC | PRODUCT | UNIT | Price | Quantity | Amount
Electrical Work
1 | Wiring 2.5sq.mm | Supply and wiring for Primary light point with 2 runs of 2.5sq.mm FRLS cables PVC insulated copper Conductor multistrand wires alongwith one run of 1.0sqmm copper earthwire run in heavy guage 20/25mm dia PVC conduit concealed in wall | 995461 | Finolex/Polycab | Rft | 45 | 281 | 12645
2 | Wiring 4sq.mm | Supply and wiring with 2 runs of 4 sqmm FRLS cables PVC insulated multistranded copper conductor wire and 1 run of 1.5 sqmm earth wire in heavy guage 25mm dia pvc conduit concealed | 995461 | Finolex/Polycab | Rft | 50 | 86 | 4300
3 | Wiring 6sq mm | Supply and wiring 6 sq mm 2 runs of 6 sqmm and one run of 2.5 sqmm in 25 mm PvC conduit concealed | 995461 | Polcab | Rft | 70 | 120 | 8400
4 | Lights/Fans Point | Supply, install, connect, test and commission a complete, internal/ external embedded or exposed lighting points and fan points (1 switch controlled by 3 to 4 lights) including lugs, connectors, PVC conduits with 2 nos 1 sqmm FRLS cables, switches (Anchor-Roma), boxes, and all other accessories. | 995461 | Polycab/Finolex/ Havells | Point | 700 | 31 | 21700
5 | Loop point | Supply and laying wiring same as Light points above but with out switch control (wiring looped from Primary Light) | 995461 | Polycab/Finolex/ Havells | Point | 275 | 36 | 9900
6 | 6amp socket | Supply and fixing of 6A 5pin socket with switch in anodised GI box and front plate/Switch plate complete with fixing accessories etc. as required. | 995461 | Anchor-Roma | No. | 300 | 7 | 2100
7 | 16amp socket | Supply and fixing of 16A 5pin socket with switch in anodised GI box and front plate/Switch plate complete with fixing accessories etc. as required. | 995461 | Anchor-Roma | No. | 360 | 7 | 2520
8 | Cat - 6 | Supply and laying of conduit pipe with Cat-6 cable - 4 core | 995461 | D-Link | Rft | 28 | 174 | 4872
9 | Camera Wire | Supply, installation, testing and commissioning of Coaxial 3+1 (RG 59) Copper Cable both side Male and Female with BNC connector of the following types including Video Signal and drawing through conduits, cable transmission. | 995461 | D-Link | Rft | 27 | 361 | 9747
10 | Recessed Swivel COB Light | Fixing of Recessed Swivel COB Light | 995461 | ABBY/ Equivalent. | Nos | 350 | 15 | 5250
11 | Pendent Down Light - 4' | Fixing of PENDENT DOWN LIGHT: Ceiling suspended LED profile fixture | 995461 | ABBY/ Equivalent. | Nos | 600 | 6 | 3600
12 | Allrounder 18w/22w | Fixing of Allrounder 18w/22w Ceiling Recessed mounted | 995461 | ABBY/ Equivalent. | Nos | 250 | 26 | 6500
13 | Nova 22 W Recessed | Fixing Of Nova @@ watt Recessed Mounted Lights | 995461 | ABBY/ Equivalent. | Nos | 400 | 2 | 800
14 | LED TL -4ft | Providing and Fixing 4ft LED - T 5-28watt | 995461 | Phillips | Nos | 600 | 3 | 1800
15 | 8 Way TPN DB with isolator | Supply & Installation, testing and Commissioning of the 8 way TPN Double door DB with 100 AMPS ISOLATER - 4 Pole - 1No as incomer and Outgoings- 10 /25 A SP MCbs - 18 Nos and required all Materials etc., (Legrand) | 995461 | Legrand | Nos | 13000 | 1 | 13000
16 | Ceiling Fan | Supply and fixing of Ceiling - 42" (high speed)/24" | 995461 | Crompton/Usha/ Orient | Nos | 2300 | 5 | 11500
17 | Fan Regulator | Supply and fixing of Fan Regulator | 995461 | Anchor-Roma | Nos | 400 | 5 | 2000
18 | Fan Rod | Supply and fixing of Anchor ROD for ceiling fan Upto 2'6" | 995461 | Local | Nos | 150 | 5 | 750
19 | Fan Anchor Bolt | Supply and fixing of Anchor Bolt for Ceiling Fan | 995461 | Local | Nos | 100 | 5 | 500
20 | DVR 4U RACK | Supply and Fixing of DVR 4U Rack | 995461 | Dlink | Nos | 3000 | 1 | 3000
21 | Exhaust Fan | Providing and Fixing 12" exhaust fan in toilet | 995461 | Cropmton | Nos | 1800 | 1 | 1800
22 | MCB for Acs | Supplying and Fixing of MCB | 995461 | Havells | Nos | 300 | 3 | 900
23 | Darin Pipe for AC | Supplying and laying Drain pipe for AC | 995461 |  | Rmt | 110 | 34 | 3740
|  |  |  | OUTSTATION CHARGES 15% / L.S |  |  |  | 10000
[5 empty] | ELECTRICAL SUB TOTAL |  |  | 141324
[5 empty] | IGST 18% |  |  | 25438.32
[5 empty] | TOTAL GST 18% |  |  | 25438.32
[5 empty] | ELECTRICAL GRAND TOTAL |  |  | 166762.32
Rupees (In Words) : One Lakh Sixty Six Thousand Seven Hundred Sixty two Rupees and Thirty Two Paisa only
| Bank Details |  |  |  |  | Ceritified that the particulars given above are true and correct
| Bank Name and A/C No. : HDFC BANK , 50200073035859 |  |  |  |  | For I FOUR U ENGINEERING SERVICES
Bank IFSC and Address : HDFC0002679 , Sri Ram City, Saraidhela, Dhanbad , Jharkhand . Pin-828127
Terms and Conditions
|  |  |  | Common Seal |  | Authorised Signatory